Stormwater Pollution Prevention Plan (SWPPP)

For Construction Activities At:

Insert Project/Site Name

Insert Project Site Location/Address

Insert City, State, Zip Code

Within Greene County, a regulated MS4

SWPPP Prepared For:

Insert Company or Organization Name of Owner/Developer

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Prepared By:

Insert Company or Organization Name

Insert Name

Insert Address

Insert City, State, Zip Code

Insert Telephone Number

Insert Fax/Email

SWPPP Preparation Date:

_____/_____/_____

Estimated Project Dates:

Project Start Date:  _____/_____/_____

Project Completion Date: _____/_____/______

Contents

SECTION 1: CONTACT INFORMATION/RESPONSIBLE PARTIES	3

1.1	Property Owner/Contractor(s)	3

1.2	Stormwater Team	4

SECTION 2: SITE EVALUATION, ASSESSMENT, AND PLANNING	5

2.1	Discharge Information	5

2.2	Nature of the Construction Activity	6

2.3	Sequence and Estimated Dates of Construction Activities	8

2.4	Site Maps	9

SECTION 3: DOCUMENTATION OF COMPLIANCE WITH OTHER FEDERAL REQUIREMENTS	9

3.1	Endangered Species Protection	10

3.2	Historic Preservation	10

SECTION 4: EROSION AND SEDIMENT CONTROLS	11

4.1	BMP Descriptions	12

4.2	Tree and Vegetation Preservation	13

4.3	Natural Buffers or Equivalent Sediment Control	17

4.4	Minimize the Disturbance of Steep Slopes	18

4.5	Sediment Basin/Sediment Trap	21

4.6	Perimeter Controls	25

4.7	Sediment Track-Out	31

4.8	Soil Stockpiles	36

4.9	Minimization of Dust	39

4.10	Storm Drain Inlets	41

4.11	Constructed Stormwater Conveyance Channels/Swales	46

4.12	Dewatering Practices and Water Diversions	55

4.13	Concrete Wash Out	63

4.14	Fuel, Oil, and Petroleum Products Spills and Response	66

4.15	Chemical Storage and Handling	69

4.16	Waste Management (Trash Dumpsteres, Portable Toilets)	71

SECTION 5: SITE STABILIZATION	73

SECTION 6: INSPECTION AND CORRECTIVE ACTION	78

6.1	Inspection Schedule	78

6.1	Inspection Personnel and Procedures	79

6.3	SWPPP Amendment	80

SECTION 7: CERTIFICATION AND NOTIFICATION	81

SWPPP APPENDICES	82

# SECTION 1: CONTACT INFORMATION/RESPONSIBLE PARTIES

## Property Owner / Contractor(s)

Instructions:

- Greene County Zoning Regulations Article IV, Section 27 requires that any person, firm, corporation, or business proposing to develop land in Greene County must apply for a permit prior to commencing land disturbance activities.

- List the general contractor and subcontractors expected to work on-site. Notify contractors of stormwater requirements applicable to their work.

- The general contractor and subcontractors must sign the Contractor Agreement included in Appendix D.

Property Owner:

INSERT COMPANY OR ORGANIZATION NAME INSERT NAME

INSERT ADDRESS

INSERT CITY, STATE, ZIP CODE

INSERT TELEPHONE NUMBER

INSERT FAX/EMAIL

General Contractor: Attach signed Contractor Agreement (see Appendix E)

INSERT COMPANY OR ORGANIZATION NAME INSERT NAME

INSERT ADDRESS

INSERT CITY, STATE, ZIP CODE

INSERT TELEPHONE NUMBER

INSERT FAX/EMAIL

INSERT AREA OF CONTROL

Subcontractor (s): Attach signed Contractor Agreement for each (see Appendix E)

INSERT COMPANY OR ORGANIZATION NAME INSERT TELEPHONE NUMBER

INSERT AREA OF CONTROL

REPEAT AS NEEDED

Emergency 24-Hour Contact: INSERT COMPANY OR ORGANIZATION NAME

INSERT NAME INSERT TELEPHONE NUMBER

## 1.2 Stormwater Team Instructions: - Part IV, Condition 8 of the Missouri State Operating Permit MORA for land disturbance requires the following: An Individual shall be designated by the permittee as the environmental lead. This environmental lead shall have knowledge in erosion, sediment, and stormwater control principles, knowledge of the permit, and the site’s SWPPP. He environmental lead shall ensure all personnel and contractors understand any requirements of this permit may be affected by the work they are doing. The environmental lead or designated inspector(s) knowledgeable in erosion, sediment, and stormwater control principles shall inspect all structures that function to prevent or minimize pollution of waters of the state. - The General Permit can be found at https://dnr.mo.gov/water/business-industry-other-entities/permits-certification-engineering-fees/stormwater/construction-or-land-disturbance-mo-ra00000

Person responsible for environmental matters: INSERT NAME INSERT TELEPHONE NUMBER

INSERT EMAIL

Designated Inspector (if different):

INSERT NAME INSERT COMPANY/POSITION INSERT TELEPHONE NUMBER INSERT EMAIL

# SECTION 2: SITE EVALUATION, ASSESSMENT, AND PLANNING

## 2.1	Discharge Information

Instructions:

- The Missouri State Operating Permit MORA for land disturbance requires listing all outfalls and receiving waters associated with the project (Part IV, Condition 7).

- List the name of the first surface water that receives discharges from your site.  If your site has discharges to multiple surface waters, indicate the names of all such waters.

- Article XXI of the Greene County Zoning Regulations requires a Greene County Floodplain Development Permit for all grading activities that are proposed within a FEMA special flood hazard area (mapped floodplain).  Applications for this permit can be found at: https://www.greenecountymo.gov/files/PDF/file.pdf?id=1537

- Any grading or filling that is proposed within a USGS mapped blue line stream, an incised channel, or waterway otherwise deemed to be jurisdictional waters of the United States may also require a (404) or (401) permit from the U.S. Army Corps of Engineers.

- Outfall Locations Outfall #; Label and describe the locations of all points where stormwater runoff exits your site. 1.. 2.. 3.. 4..

- Names of Receiving Waters Name(s) of the first surface water(s) that receives stormwater directly from your site’s outfall locations identified above.. 1.. 2.. 3..

Floodplain

Will land disturbance activities take place within the Special Flood Hazard Area (mapped floodplain)?

YES  	NO

If yes, a Greene County Floodplain Development Permit will also be required.

Corps of Engineers

Will this project require a permit from the Corps of Engineers?

YES  	NO

If yes, a copy of the Corps permit must be submitted with this SWPPP.

## 2.2	Nature of the Construction Activity

Instructions:

- The Missouri State Operating Permit MORA for land disturbance requires a description of the function of the project and an estimate of the total area expected to be disturbed by excavation, grading, or other construction activities, including, but not limited to, off-site borrow and fill areas (Part IV, Condition 4).

- Provide a general description of the nature of the construction activities at your project.

- Describe the size of the property (in acres) and the total area expected to be disturbed by the construction activities (in acres).

General Description of Project Provide a general description of the construction project:

INSERT GENERAL DESCRIPTION HERE

Size of Construction Project What is the size of the property (in acres), the total area expected to be disturbed by the construction activities (in acres), and the maximum area expected to be disturbed at any one time?

Size of Property: INSERT NUMBER OF ACRES Area to Be Disturbed: INSERT NUMBER OF ACRES Maximum Area to be Disturbed At Any One Time: INSERT NUMBER OF ACRES [Repeat as necessary for individual project phases.] Construction Support Activities (only provide if applicable) Describe any construction support activities for the project (e.g., concrete or asphalt batch plants, equipment staging yards, material storage areas, excavated material disposal areas, borrow areas)

INSERT DESCRIPTION OF CONSTRUCTION SUPPORT ACTIVITY Borrow/fill sites (excavated material disposal areas, borrow areas) Excess soil will be disposed of: On-site Off-site area is covered under this project’s permit numbers and will be stabilized following construction as per the stabilization plan. Off-site area will not be stabilized following construction, a separate permit is needed. Additional fill soil will be obtained from: Off-site Borrow Site GREENE COUNTY GRADING PERMIT#_______________________________ STATE OF MISSOURI LDP #_________________________________________ COMPANY OR ORGANIZATION NAME_______________________________ NAME____________________________________________________________ ADDRESS_________________________________________________________ CELL PHONE NUMBER_____________________________________________ OFFICE PHONE NUMBER___________________________________________ EMAIL____________________________________________________________ Fill/Disposal Site GREENE COUNTY GRADING PERMIT#_______________________________ STATE OF MISSOURI LDP #_________________________________________ COMPANY OR ORGANIZATION NAME_______________________________ NAME____________________________________________________________ ADDRESS_________________________________________________________ CELL PHONE NUMBER_____________________________________________ OFFICE PHONE NUMBER___________________________________________ EMAIL____________________________________________________________

## 2.3	Sequence and Estimated Dates of Construction Activities

Instructions:

- The Missouri State Operating Permit MORA requires a description of the intended sequence and timing of activities that disturb soils at the site (Part IV, Condition 4).

- For each phase of construction, include the following information:

  - Installation of stormwater controls, and when they will be made operational;

  - Commencement and duration of earth-disturbing activities, including clearing and grubbing, mass grading, site preparation (i.e., excavating, cutting and filling), final grading, and creation of soil and vegetation stockpiles requiring stabilization;

  - Cessation, temporarily or permanently, of construction activities on the site, or in designated portions of the site;

  - Final or temporary stabilization of areas of exposed soil.  The dates for stabilization must reflect the applicable deadlines to which you are subject to in Section V, Conditions 12 and 13.

Phase I

INSERT GENERAL DESCRIPTION OF PHASE

- INSERT ESTIMATED START AND END DATES OF CONSTRUCTION DISTURBANCES ASSOCIATED WITH THIS PHASE

- FOR EACH STORMWATER CONTROL, INSERT ESTIMATED DATE(s) OF INSTALLATION OF EACH STORMWATER CONTROL

- FOR AREAS OF THE SITE REQUIRED TO BE STABILIZED, INSERT ESTIMATED DATE(s) OF APPLICATION OF STABILIZATION MEASURES

- INSERT ESTIMATED DATE(s) WHEN STORMWATER CONTROLS WILL BE REMOVED

Phase II

INSERT GENERAL DESCRIPTION OF PHASE

- INSERT ESTIMATED START AND END DATES OF CONSTRUCTION DISTURBANCES ASSOCIATED WITH THIS PHASE

- FOR EACH STORMWATER CONTROL, INSERT ESTIMATED DATE(s) OF INSTALLATION OF EACH STORMWATER CONTROL

- FOR AREAS OF THE SITE REQUIRED TO BE STABILIZED, INSERT ESTIMATED DATE(s) OF APPLICATION OF STABILIZATION MEASURES

- INSERT ESTIMATED DATE(s) WHEN STORMWATER CONTROLS WILL BE REMOVED

[Repeat as needed on additional sheets.]

## 2.4	Site Maps

Instructions:

- Attach site map(s) in Appendix A of the Template.  For more complicated sites, a series of maps showing the major phases of development is recommended.  If all required information is on the construction plan sheets no attachment will be required for appendix A of this SWPPP.

- For sites with a site development plan approved by the Greene County Stormwater Engineer, all pages of the approved site plan are hereby incorporated by reference into this SWPPP as part of the site map.

As set forth in Part IV, Condition 7 of the Missouri State Operating Permit MORA, these maps must include the following features:

- Site Boundaries of the Property;

- Locations of all waters of the state (including wetlands) within the site and half a mile downstream of the site’s outfalls;

- Location of all outfalls

- Direction(s) of stormwater flow (use arrows) and approximate slopes before and after grading activities;

- Areas of soil disturbance and areas that will not be disturbed;

- Location of structural and non-structural BMPs, including natural buffer areas, identified in the SWPPP;

- Locations where stabilization practices are expected to occur;

- Locations of on-site and off-site material, waste, borrow or equipment storage areas and stockpiles;

- Designated points where vehicles will exit the site;

- Location of stormwater inlets and conveyances including ditches, pipes, man-made conduits, and swales; and

- Areas where final stabilization has been achieved.

Section 103 of the Greene County Storm Water Design Standards requires the site map to also include the location of the following features:

- Sinkholes

- Caves

- Faults and fracture trends

- Springs

- All existing water bodies and water courses

- Existing trees

# SECTION 3: DOCUMENTATION OF COMPLIANCE WITH OTHER FEDERAL REQUIREMENTS*

## 3.1	Endangered Species Protection

Instructions:

- This permit does not supersede compliance with the Endangered Species Act.

- For information on listed species by State & County, go to: https://www.fws.gov/endangered/ .  The Missouri Department of Conservation’s Natural Heritage Review may also be helpful and is found at: https://naturalheritagereview.mdc.mo.gov/

- There are federally listed threatened and endangered species in Greene County.  Use the U.S. Fish and Wildlife Service IPaC (Information for Planning and Consultation) tool to identify any endangered species, or critical habitat on your site. An IPaC report can be generated at: https://ipac.ecosphere.fws.gov/

Are there any endangered species or critical habitat on or near the project?

YES  	NO

If YES, please describe the species and/or critical habitat: _____________________________

If YES, describe steps taken to address the impact of construction: _____________________________

## 3.2	Historic Preservation

Instructions:

- NPDES permittees must be in compliance with the Historic Preservation Act.

- To view National Register Listings for Greene County, please visit the Missouri State Parks website:  https://mostateparks.com/page/84636/greene-county-national-register-listings and GIS mapping site https://modnr.maps.arcgis.com/apps/webappviewer/index.html?id=e3a6d822d215486ba20aadb6badd7174

- You may also contact the State Historic Preservation Office (SHPO) at 573-751-7858 or by email at moshpo@dnr.mo.gov

Are there any historic sites on or near the construction site? YES NO If YES, describe steps taken to address the impact of construction: _____________________________ Other: INSERT COPIES OF LETTERS, EMAILS, OR OTHER COMMUNICATION BETWEEN YOU AND THE APPLICABLE SHPO, THPO, OR OTHER TRIBAL REPRESENTATIVE

*Please note that Greene County does not enforce Federal ESA, or HPA requirements. It is the developer’s responsibility to ensure compliance with Federal law.

# SECTION 4: EROSION AND SEDIMENT CONTROLS

Instructions:

- Part V, Condition 3 of the Missouri State Operating Permit MORA requires the selection of temporary and permanent structural and non-structural BMPs.  On the list below check all applicable BMP’s that will be utilized on the site.

| Erosion Control BMPs: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Scheduling |  |  |  |  |  |  |  |  |  |  |  | Preservation of Existing Vegetation |  |  |
|  | Dust (Wind Erosion) Control |  |  |  |  |  |  |  |  |  |  |  | Hydraulic Mulch/Bonded Fiber Matrix |  |  |
|  | Seeding |  |  |  |  |  |  |  |  |  |  |  | Soil Binders |  |  |
|  | Sodding |  |  |  |  |  |  |  |  |  |  |  | Hydroseeding |  |  |
|  | Turf Reinforcement Mat |  |  |  |  |  |  |  |  |  |  |  | Erosion Control Blankets |  |  |
|  | Outlets/Velocity Dissipation Devices |  |  |  |  |  |  |  |  |  |  |  | Geotextiles and Plastic Covers |  |  |
|  | Temporary Stream Crossing |  |  |  |  |  |  |  |  |  |  |  | Streambank Stabilization |  |  |
|  | Mulch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sediment Control BMPs: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Vegetated Filter Strips |  |  |  |  |  |  |  |  |  |  |  | Silt Fence |  |  |
|  | Compost Filter Sock |  |  |  |  |  |  |  |  |  |  |  | Compost Filter Berms |  |  |
|  | Sediment Basins |  |  |  |  |  |  |  |  |  |  |  | Sediment Traps |  |  |
|  | Sediment Filters/Chambers |  |  |  |  |  |  |  |  |  |  |  | Inlet Protection - Curb and Gutter |  |  |
|  | Street Sweeping/Vacuuming |  |  |  |  |  |  |  |  |  |  |  | Inlet Protection - Area Inlets |  |  |
| Runoff Management BMPs: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check Dams |  |  |  |  |  |  |  |  |  |  |  | Earth Berms and Drainage Swales |  |  |
|  | Water Diversions |  |  |  |  |  |  |  |  |  |  |  | Terracing |  |  |
|  | Grass Lined Channel |  |  |  |  |  |  |  |  |  |  |  | Slope Drains |  |  |
|  | Gravel Bags |  |  |  |  |  |  |  |  |  |  |  | Level Spreaders |  |  |
|  | Soil Roughening |  |  |  |  |  |  |  |  |  |  |  | Fiber Rolls/Wattles |  |  |
|  | Dewatering Operations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tracking Control BMPs: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Construction Entrance/Exit |  |  |  |  |  |  |  |  |  |  |  | Construction Parking |  |  |
|  | Stabilized Construction Roadway |  |  |  |  |  |  |  |  |  |  |  | Tire Wash Down Station |  |  |
| Pollution Prevention BMPs: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Concrete Washout |  |  |  |  |  |  |  |  |  |  |  | Non-Sediment Pollution Control |  |  |
|  | Vehicle Maintenance |  |  |  |  |  |  |  |  |  |  |  | Solid Waste/Trash Management |  |  |
|  | Other (Specify in description below) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

## 4.1	BMP Description

Instructions:

- Part V, Condition 4 of the Missouri State Operating Permit MORA requires a description of the structural and non-structural BMPs that will be used on the site.

- The SWPPP shall provide the following general information for each BMP which will be used one or more times on the site:

  - Physical Description of the BMP;

  - Site conditions that must be met for effective use of the BMP;

  - BMP installation/construction procedures and schedules for the BMP;

  - Operation and maintenance procedures and schedules for the BMP.

- The SWPPP shall provide the following information for each specific instance where a BMP will be installed:

  - Whether the BMP is temporary or permanent

  - When the BMP will be installed in relation to each phase of the land disturbance procedures to complete the project; and

  - Site conditions that must be met before the removal of the BMP in the BMP is not a permanent BMP

Sections 4.2 through 4.16 of this SWPPP correspond to the specified conditions in Missouri State Operating Permit MORA.  Each subsection in this SWPPP contains a BMP specified by the Missouri State Operating Permit and contains detail sheet(s) with descriptions and drawings that meet the requirements of Part V, Condition 4 of the MORA.

If a specific BMP will be used on your site complete the description of the BMP, installation, maintenance, and removal requirements.  If the BMP will not be used on your site check the box indicating the BMP is not applicable.

Free downloads of additional BMP specifications and details can be found at: https://www.springfieldmo.gov/2122/Best-Management-Practices

4.2	Tree and Vegetation Preservation

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - Existing vegetation and trees are to be preserved where practical (MORA Part V, Condition 2). - Indicate all trees that will be preserved on your erosion control site map or on a site grading sheet

- INSERT RATIONALE FOR CONCLUDING THAT IT IS IMPRACTICAL TO PRESERVE TREES.

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.3	Natural Buffers or Equivalent Sediment Controls

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions:

- For waters of the state (defined in Section 644.016.1(27) RSMo) located on, or adjacent to the site, Part V, Condition 7 of Missouri State Operating Permit MORA requires the permittee to provide and maintain a 50-foot undisturbed natural buffer, or the structural equivalent.

- On the site map(s), label any surface waters on or adjacent to the project and indicate the area to be dedicated as a buffer.

Are there any surface waters within 50 feet of your project’s earth disturbances?   YES    NO

(Note:  If no, no further documentation is required for the SWPPP Template.)

If yes, check the compliance alternative that you have chosen:

I plan to maintain a minimum 50-foot undisturbed natural buffer.

You must show the 50-foot boundary line of the natural buffer on your site map.)

I plan to maintain less than a 50-foot undisturbed natural buffer supplemented by erosion and sediment controls that achieve the sediment reduction equivalent to a 50-foot undisturbed natural buffer.

You must show on your site map how all discharges from your construction disturbances through the natural buffer area will first be treated by the site’s erosion and sediment controls.  Also, show on the site map any velocity dissipation devices used to prevent erosion within the natural buffer area.)

It is infeasible to provide and maintain an undisturbed natural buffer of any size.

- INSERT RATIONALE FOR CONCLUDING THAT IT IS INFEASIBLE TO PROVIDE AND MAINTAIN A NATURAL BUFFER OF ANY SIZE

Buffer disturbances are authorized as part of in-stream work under a CWA Section 404 permit.

- INSERT DESCRIPTION OF ANY EARTH DISTURBANCES THAT WILL OCCUR WITHIN THE BUFFER AREA

## 4.4	Minimize Disturbance of Steep Slopes

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions:

- Disturbance of steep slopes is to be minimized according to Part V, Condition 8 of the Missouri State Operating Permit MORA.  A steep slope is defined as being greater than 3:1 (three feet horizontal to one foot vertical) or greater than 3% AND greater than 150 feet in length (Part V, Condition 12(d)).

- Describe controls (e.g., erosion control blankets, tackifiers), including design, installation and maintenance specifications, that will be implemented to minimize sediment discharges from slope disturbances. Stabilization of steep slopes shall be implemented within 7 days of ceasing operations on that part of the site.

Steep Slope Controls

Steep Slope Control

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

[Repeat as needed for individual steep slope controls.]

## 4.5	Sediment Basin/Sediment Trap

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions:

- Part V, Condition 11 of the Missouri State Operating Permit MORA requires that a sedimentation basin be provided for each drainage area with 10 or more acres disturbed at one time. The basin shall be sized to contain a volume of a 2-year, 24 hour storm.

- Accumulated sediment shall not exceed 25% of the basin volume. The basin shall be maintained until final stabilization of the disturbed area served by the basin.

- If use of a sediment basin is impractical, similarly effect BMPs must be chosen and employed to control erosion and sediment delivery. These similarly effective BMPs must provide equivalent water quality protection to achieve compliance with the Missouri State Operating Permit MORA.  Temporary and permanent sedimentation basins must have a stabilized spillway to minimize the potential for erosion of the spillway or basin embankment.

- Please include design specifications for each basin, including volume, dimensions.

- Describe dewatering methods to be used on site and specific BMPs designed to treat dewatering water (including, but not limited to sediment socks, dewatering tanks/bags, weir tanks, filtration systems (bag or sand filters) designed to remove sediment.

Sediment Basin Controls

Sediment Basin

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

[Repeat as needed for individual sediment basin controls.]

## 4.6	Perimeter Controls

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - Perimeter controls must be installed downgradient from exposed soil to eliminate sediment from being moved in a sheet flow or channelized flow during a rain event (MORA Part V, Condition 6). - Perimeter controls must be installed before general site clearing is started.

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.7	Sediment Track-Out

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - Describe stormwater controls that will be used to minimize the track-out of sediment onto off-site streets, other paved areas, and sidewalks from vehicles exiting your construction site. - Sediment tracked onto roadways must be cleaned by the end of each business day

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.8	Soil Stockpiles

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - Describe stormwater controls and other measures you will take to minimize the discharge of sediment or soil particles from stockpiled sediment or soil. Include a description of structural practices (e.g., diversions, berms, ditches, storage basins), including design, installation, and maintenance specifications used to divert flows from stockpiled sediment or soil, retain or detain flows, or otherwise limit exposure and the discharge of pollutants from stockpiled sediment or soil. - Describe how topsoil will be preserved and identify these areas and control measures on your site map(s). - Indicate if a borrow/fill site will be used for the project and provide information of permitted or non permitted site.

Stockpile Stabilization

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.9	Minimization of Dust

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - Describe controls and procedures you will use at your project/site to minimize the generation of dust.

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.10	Storm Drain Inlets

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - Stormwater inlets susceptible to receiving sediment from the site shall have curb inlet protection - Describe controls that will be implemented to protect all inlets that will receive stormwater from your construction activities and that you have authority to access. - Curb inlets shall be cleaned weekly

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.11	Constructed Stormwater Conveyance Channels/Swales

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - If you will be installing a stormwater conveyance channel, describe control practices such as rolled erosion control products (temporary erosion control blanket and permanent turf reinforcement matting), velocity dissipation devices, ditch checks, check dams, etc. that will be implemented at the construction site.

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.12	Dewatering Practices and Water Diversions

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - If you will be discharging sediment water that is removed from excavations, trenches, foundations, vaults, or other similar points of accumulation, include design specifications and details of all dewatering practices. In no case shall water be pumped off site without being treated by a specified BMP - When working within a waterway, it may be necessary to divert water around the job site using a berm, pipe, or pump structure. This is an ideal BMP as it keeps the work area dry and water is not exposed to sediment.

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.13	Concrete Wash-Out

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions: - Describe how you will minimize the discharge of pollutants from wash waters and process water associated with concrete and paving activities

BMP Description

- TYPE OF BMP:	PERMANENT  	TEMPORARY

- INSERT PHYSICAL DESCRIPTION OF BMP TO BE INSTALLED.

- INCLUDE COPIES OF DESIGN SPECIFICATIONS.

Installation

- INSERT INSTALLATION STANDARDS AND PROCEDURES INCLUDING TYPICAL DRAWINGS.

- DESCRIBE PHASE OF EROSION CONTROL PLAN WHEN THE BMP WILL BE INSTALLED.

Maintenance Requirements

- DESCRIBE BMP OPERATION AND MAINTENANCE PROCEDURES.

Removal Requirements

- DESCRIBE SITE CONDITIONS THAT MUST BE MET BEFORE REMOVAL IF THE BMP IS NOT PERMANENT.

## 4.14	Fuel, Oil, and Petroleum Products Spills and Response

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions:

- Part V, Condition 10 of the Missouri State Operating Permit MORA requires that pollution prevention BMPs be installed to minimize the risk potential for non-sediment pollutants (including, but not limited to: wheel wash water, trash, fertilizers, pesticides, sanitary waste, and petroleum or chemical spills) leaving the site in stormwater runoff.

  - Minimize exposure of any materials which may contribute pollution to precipitation and stormwater;

  - Implement chemical spill and leak prevention and response procedures. These procedures include but are not limited to maintenance of spill kits, installation of containment berms, and use of drip pans at petroleum product and liquid storage tanks and containers.

Fueling

Equipment Maintenance-

Other Toxic Chemicals- DESCRIBE HERE

Description:

- Fuel, oil, and other petroleum products will not be stored below the ordinary high water mark at any time or in the adjacent floodway beyond normal working hours. All fueling facilities present on the site shall adhere to applicable federal and state regulations concerning underground storage, above ground storage, and dispensers. All fuel, oil, and other fluids exposed to precipitation shall be stored in watertight, structurally sound, closed containers.

- Missouri, state law will be followed. It requires the responsible party to report releases greater than 50 gallons to the Missouri Department of Natural Resources at the earliest practical moment after discovery. If the release is from an underground storage tank, or UST, or piping, the reportable quantity is 25 gallons or more. Reports are also required for above ground storage tanks, or AST, that have released 50 gallons or greater. Further, federal law requires the responsible party to report any release of oil if the oil reaches or threatens any waterway. Any such spills or petroleum or other chemicals are to be reported as soon as possible to the Missouri Department of Natural Resources. Call the Southwest Regional Office at (417) 891-4300 or the Department’s 24-hour Environmental Emergency Response number at (573) 634-2436

- Minimize the discharge of fluids from spills and leaks by implementing chemical spill and leak prevention and response procedures, including, but not limited to, installation of containment berms and use of drip pans.

- Machinery will be kept out of the waterway as much as possible.

- No fueling, servicing, maintenance or repair of equipment or machinery should be done within 100 feet of a stream, or within 150 feet of a classified stream, losing stream, or sinkhole.

- Tarps or drop cloths and drip pads should be used when servicing, repairing, or performing maintenance on construction equipment in the field.

Petroleum Spill Response Procedures:

SEE MISSOURI DEPARTMENT OF NATURAL RESOURCES PUBLICATION 212 - SMALL FUEL SPILLS

## 4.15	Chemical Storage and Handling

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions:

- Part V, Condition 10 of the Missouri State Operating Permit MORA requires that pollution prevention BMPs be installed to minimize the risk potential for non-sediment pollutants (including, but not limited to: wheel wash water, trash, fertilizers, pesticides, sanitary waste, and petroleum or chemical spills) leaving the site in stormwater runoff.

  - Minimize exposure of any materials which may contribute pollution to precipitation and stormwater;

  - Implement chemical spill and leak prevention and response procedures. These procedures include but are not limited to maintenance of spill kits, installation of containment berms, and use of drip pans at petroleum product and liquid storage tanks and containers.

Material/Chemical Delivery and Storage- Sediment, Nutrients, Heavy Metals, pH (acids and bases), Oils & Grease, Trash, Debris, Solids, Toxic Chemicals

Material/Chemical Use During Building Process- Nutrients, Heavy Metals, pH (acids and bases), Oils & Grease, Trash, Debris, Solids, Toxic Chemicals

Other Polluting Material/Chemical Used During Construction Process- DESCRIBE HERE

Best Management Practice #1

Description:

- Spill kit on-site will be kept with equipment necessary for spill clean-up. Equipment and materials include, but are not limited to: brooms, dust pans, mops, rags, gloves, goggles, kitty litter, sawdust, and trash containers.

- Hazardous wastes shall comply with Missouri Hazardous Waste Laws and Regulations. For guidance, contact 1-800-361-4827

- Post guidelines for proper handling, storage and disposal of materials, and emergency spill cleanup on site.

- Retain original labels and material safety data sheets.

- All paint, solvents, petroleum products, petroleum waste products and storage containers such as drums, cans, or cartons shall be stored using best management practices.

- Materials exposed to precipitation shall be stored in watertight, structurally sound, closed containers with proper labels.

- Store bagged and boxed materials on pallets.

- Cover bagged and boxed materials during non-working days and prior to rain events.

- Containers for proper disposal of waste paints, solvents, and cleaning compounds shall be provided.

## 4.16	Waste Management (Trash Dumpsters, Portable Toilets)

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions:

- Part V, Condition 10 of the Missouri State Operating Permit MORA requires that pollution prevention BMPs be installed to minimize the risk potential for non-sediment pollutants (including, but not limited to: wheel wash water, trash, fertilizers, pesticides, sanitary waste, and petroleum or chemical spills) leaving the site in stormwater runoff.

  - Minimize exposure of any materials which may contribute pollution to precipitation and stormwater;

  - Implement chemical spill and leak prevention and response procedures. These procedures include but are not limited to maintenance of spill kits, installation of containment berms, and use of drip pans at petroleum product and liquid storage tanks and containers.

Solid Waste Disposal- Trash, Debris, Solids, Toxic Chemicals

Portable Toilet - Nutrients, pH (acids and bases), Bacteria & Viruses

Best Management Practice #1: Solid Waste

Description:

- Place waste receptacles near area of work.

- Cover receptacles and empty on a regular basis.

- Storage and collection areas will be located onsite in an area that does not receive a substantial amount of runoff from upland areas and does not drain directly to the City’s stormwater system or a natural waterway.

Installation:

- INSERT PHASE OF EROSION CONTROL PLAN IN WHICH THE BMP WILL BE INSTALLED. THIS MUST CORRESPOND WITH THE PHASING OF CONSTRUCTION TABLE SECTION 4.1

Best Management Practice #2: Sanitary Waste/Portable Toilets

Description:

- Portable toilet facilities to serve the number of workers on the site will be supplied.

- Portable toilet facilities will not be placed on top of storm inlets, outfalls or near waterways.

Installation:

- Portable toilet facilities will be properly installed and fastened as per manufacturers specifications.

- INSERT PHASE OF EROSION CONTROL PLAN IN WHICH THE BMP WILL BE INSTALLED. THIS MUST CORRESPOND WITH THE PHASING OF CONSTRUCTION TABLE SECTION 4.1

- BMP MUST BE SHOWN ON THE SEDIMENT AND EROSION CONTROL PLAN SHEET AND/OR GRADING SHEET INCLUDED IN THE APPROVED PLANS

# SECTION 5: SITE STABILIZATION

## 5.1	Site Stabilization

Check box if section is NOT applicable.

Permanent BMP		Temporary BMP

Instructions:

- Part V, Condition 12 of the Missouri State Operating Permit MORA details schedules for permanent and temporary stabilization of areas where land disturbance activities have ceased.

- Interim stabilization must be initiated immediately and completed within 14 calendar days where soil disturbing activities have temporarily ceased on any portion of the site and will not resume for a period exceeding 14 calendar days.

- Final stabilization of disturbed areas must be initiated immediately and completed within 14 calendar days whenever any clearing, grading, excavating or other earth disturbing activities have permanently ceased on any portion of the site.

- Describe the specific vegetative and/or non-vegetative practices that will be used to stabilize exposed soils where construction activities have temporarily or permanently ceased.

- Before removal of other BMPs, final stabilization must be achieved when perennial vegetation, or other permanent cover (buildings, pavement, structures) cover all areas hat have been disturbed. Vegetation must achieve at least 70% coverage over 100% of the vegetated areas (Part V, Condition 13).

Stabilization Practices (select all that apply):

Concrete/Asphalt					Hydroseed

Mulch						Sod

Seed and Straw					Other: DESCRIBE HERE

Description of Practice

- INSERT DESCRIPTION OF STABILIZATION PRACTICE TO BE INSTALLED

- INCLUDE COPIES OF DESIGN SPECIFICATIONS HERE

Maintenance Requirements

INSERT MAINTENANCE REQUIREMENTS FOR THE STABILIZATION PRACTICE

[Repeat as needed for additional stabilization practices.]

# SECTION 6: Inspection and Corrective Action

## 6.1	Inspection Personnel and Procedures

Instructions:

- Describe the schedule and procedures you will follow for conducting inspections and how they will meet the requirements set forth in Part V, Conditions 11 and 12 of the Missouri State Operating Permit MORA.

Individual responsible for Environmental Matters or Designated Inspector:

INSERT NAME, TITLE AND PHONE NUMBER OF PERSONNEL WHO WILL BE CONDUCTING SITE INSPECTIONS.

Site Inspection Reports: A log of each inspection and copy of the inspection report must be readily accessible. Electronic logs are acceptable. If inspection reports are kept off-site indicate below where the inspection logs will be kept. Insert a copy of the inspection report form in Appendix C. Inspection Schedule: Choice A - Inspection will be done at least once per 7 calendar days. Inspections must also occur within 48 hours after any rain event equal to or greater than 3.90 inches (2 year, 24 hour storm) and has ceased during a normal work day and within 72 hours if the rain event ceases during a non-work day such as a weekend or holiday. Choice B - Inspection will be done at least once per 14 calendar days. Inspections must also occur within 24 hours after any rain event equal to or greater than 0.25 inches or the occurrence of run off from snowmelt. If the storm event continues for multiple days and continues to accumulate 0.25 inches, you are required to conduct an inspection within 24 hours of the first day of the storm and within 24 hours after the end of the storm. To determine inches of precipitation or both inspection schedules, go to the following website: https://www.springfieldmo.gov/2153/Rain-Gauge-Network and use the Username: rain@springfieldmo.gov and Password: rainfall1. Corrective Action Schedule to be used for choice A and B Any structural or maintenance problems shall be noted in an inspection report and corrected as soon as possible, but no more than seven calendar days after the inspection. If weather conditions prevent correction of BMPs within 7 calendar days, the reasons for the delay must be documented (including pictures) and there must be a narrative explaining why the work cannot be accomplished within the 7 day time period. The documentation must be filed with the regular inspection reports, and the problem shall be corrected as soon as weather conditions allow.

## 6.2	Inspection Personnel and Procedures

Instructions:

- Identify the individual(s) or positions within the company who have been delegated authority to sign inspection reports.

- Attach a copy of the signed delegation of authority (see example in Appendix G of the Template.

Duly Authorized Representative(s) or Position(s):

Insert Company or Organization Name:

Insert Name:

Insert Position:

Insert Address:

Insert City, State, Zip Code:

Insert Telephone Number:

Insert Fax/Email:

## 6.3	SWPPP Amendment

Instructions:

- SWPPP modifications are required as appropriate pursuant to Part IV, Condition 9 of the Missouri State Operating Permit MORA to incorporate any significant changes which impact the nature and condition of stormwater discharges. At a minimum changes must be made whenever the;

  - Location, design, operation, or maintenance of BMPs is changed;

  - Design of the construction project is changed that could significantly affect the quality of the stormwater discharges;

  - Permittee’s inspections indicate deficiencies in the SWPPP;

  - SWPPP is determined to be ineffective in minimizing or controlling erosion and sedimentation (e.g., there is visual evidence of excessive site erosion or excessive sediment deposits in streams or lakes, or downstream waterways)

Description of the Amendment. Date; Signature Print Name. Description of the Amendment. Date; Signature Print Name. Description of the Amendment. Date; Signature Print Name.

# SECTION 7: Certification and Notification

Instructions:

- The following certification statement must be signed and dated by the owner of the property described in this plan, or their legally authorized agent.

- This certification must be re-signed in the event of transfer of ownership.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fines and imprisonment for knowing violations.

| Name: |  |  | Title: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  |  |  | Date: |  |

# SWPPP APPENDICES

Attach the following documentation to the SWPPP:

Appendix A – Site Maps

Appendix B – Copy of Missouri State Operating Permit MORA00000

Appendix C – Inspection Form

Appendix D – Subcontractor Certifications/Agreements

Appendix E – Delegation of Authority

Appendix A – Site Maps

All pages of the plans approved by the Greene County Stormwater Engineer are hereby incorporated into this SWPPP.

INSERT ANY ADDITIONAL SITE MAPS AS SPECIFIED IN SECTION 2.4 OF THIS SWPPP TEMPLATE

Appendix B – Copy of Missouri State Operating Permit MORA00000

INSERT A COPY OF YOUR STATE OPERATING PERMIT AS ISSUED BY THE MISSOURI DEPARTMENT OF NATURAL RESOURCES.

Appendix C – Copy of Inspection Form

INSERT COPY OF ANY INSPECTION FORMS YOU WILL USE TO PREPARE INSPECTION REPORTS

Appendix D – Contractor Certification/Agreements

CONTRACTOR/SUBCONTRACTOR CERTIFICATION

STORMWATER POLLUTION PREVENTION PLAN

Project Number:

Project Title:

Operator(s):

As a contractor/subcontractor, you are required to comply with the Stormwater Pollution Prevention Plan (SWPPP) for any work that you perform on-site.  Any person or group who violates any condition of the SWPPP may be subject to substantial penalties or loss of contract.  You are encouraged to advise each of your employees working on this project of the requirements of the SWPPP.  A copy of the SWPPP is available for your review at the office trailer.

Each subcontractor engaged in activities at the construction site that could impact stormwater must be identified and sign the following certification statement:

I certify under the penalty of law that I have read and understand the terms and conditions of the SWPPP for the above designated project and agree to follow the practices described in the SWPPP.

This certification is hereby signed in reference to the above named project:

Company Name:

Address:

Telephone Number:

Type of construction service to be provided:

Signature:

Title:

Date:

Appendix E – Delegation of Authority Form

Delegation of Authority

I, _______________________ (name), hereby designate the person or specifically described position below to be a duly authorized representative for the purpose of overseeing compliance with environmental requirements, including the Construction General Permit, at the ____________________________________ construction site.  The designee is authorized to sign any reports, stormwater pollution prevention plans and all other documents required by the permit.

________________________________________ (name of person or position)

________________________________________ (company)

________________________________________ (address)

________________________________________ (city, state, zip)

________________________________________ (phone)

By signing this authorization, I confirm that I meet the requirements to make such a designation as set forth in Appendix I of EPA’s Construction General Permit (CGP), and that the designee above meets the definition of a “duly authorized representative” as set forth in Appendix I.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Name:

Company:

Title:

Signature:

Date: